Pump Priming Procedure

Equipment: Centrifugal pump model CP-200.

Step 1: Ensure the suction line is filled with liquid. Open the vent valve at the top of the pump casing until liquid flows without air bubbles.

Step 2: Close the vent valve. Verify the discharge valve is closed or throttled to prevent run-dry.

Step 3: Start the motor. Allow the pump to run for 30 seconds with the discharge closed to build pressure.

Step 4: Slowly open the discharge valve. Monitor the pressure gauge; normal operating range is 40-60 PSI for this model.

Step 5: Check for leaks at the mechanical seal and connections. If abnormal noise or vibration occurs, shut down and contact maintenance.